Specific Contaminant Reduction (1,2,3)

| Contaminant | Maximum Allowable Concentration (mg/L) | Influent (ave. mg/L) | Effluent (ave. mg/L) | Effluent (max. mg/L) | Ave. Percent Reduction |
| --- | --- | --- | --- | --- | --- |
| Nitrate + Nitrite | 10 | 34 | Non-detect | Non-detect | >99% |
| Nitrate | 10 | 30 | Non-detect | Non-detect | >99% |
| Nitrite | 1.0 | 4.0 | Non-detect | Non-detect | >98% |

(1)  This system was tested according to NSF/ANSI 53 reduction of the substance listed above. The concentration of the indicated substance in water entering the system was reduced to a concentration less than or equal to the permissible limit for water leaving the system, as specified in NSF/ANSI 53.

(2)  Note: LINX products’ performance depends upon the periodic replacement of the LINX 50 TDS cartridges, LINX 120 sediment filter, and LINX 120 carbon filter as described in the Owner’s Manual.

(3)  Average concentrations are the arithmetic mean of all reported influent or effluent concentrations (the detection limit value shall be used for any nondetectable concentrations). The percent reduction shall be calculated from the arithmetic mean of the influent and effluent concentrations.